## Data
MJB&A FILE NUMBER | Facility Record No. | Company Name * (§60.5420a(b)(1)(i)) | Facility Site Name * (§60.5420a(b)(1)(i)) | US Well ID or US Well ID Associated with the Affected Facility, if applicable. * (§60.5420a(b)(1)(i)) | Address of Affected Facility * (§60.5420a(b)(1)(i)) | Address 2 | City * | County * | STATE | Zip Code * | Responsible Agency Facility ID (State Facility Identifier) | Description of Site Location (§60.5420a(b)(1)(i)) | Latitude of the Site (decimal degrees to 5 decimals using the North American Datum of 1983) (§60.5420a(b)(1)(i)) | Longitude of the Site (decimal degrees to 5 decimals using the North American Datum of 1983) (§60.5420a(b)(1)(i)) | Beginning Date of Reporting Period.* (§60.5420a(b)(1)(iii)) | Ending Date of Reporting Period.* (§60.5420a(b)(1)(iii)) | Scan No. |  | Identification of Each Affected Facility * (§60.5420a(b)(1)) | Date of Survey * (§60.5420a(b)(7)(i)) | Survey Begin Time * (§60.5420a(b)(7)(ii)) | Survey End Time * (§60.5420a(b)(7)(ii)) | Name of Surveyor * (§60.5420a(b)(7)(iii)) | Ambient Temperature During Survey * (§60.5420a(b)(7)(iv)) | Sky Conditions During Survey * (§60.5420a(b)(7)(iv)) | Maximum Wind Speed During Survey * (§60.5420a(b)(7)(iv)) | Monitoring Instrument Used * (§60.5420a(b)(7)(v)) | Deviations From Monitoring Plan (If none, state none.) * (§60.5420a(b)(7)(vi)) | Type of Component for which Fugitive Emissions Detected * (§60.5420a(b)(7)(vii)) | Number of Each Component Type for which Fugitive Emissions Detected * (§60.5420a(b)(7)(vii)) | Type of Component Not Repaired as Required in §60.5397a(h) * (§60.5420a(b)(7)(viii)) | Number of Each Component Type Not Repaired as Required in § 60.5397a(h) * (§60.5420a(b)(7)(viii)) | Type of Difficult-to-Monitor Components Monitored * (§60.5420a(b)(7)(ix)) | Number of Each Difficult-to-Monitor Component Type Monitored * (§60.5420a(b)(7)(ix)) | Type of Unsafe-to-Monitor Component Monitored * (§60.5420a(b)(7)(ix)) | Number of Each Unsafe-to-Monitor Component Type Monitored * (§60.5420a(b)(7)(ix)) | Date of Successful Repair of Fugitive Emissions Component * (§60.5420a(b)(7)(x)) | Type of Component Placed on Delay of Repair * (§60.5420a(b)(7)(xi)) | Number of Each Component Type Placed on Delay of Repair * (§60.5420a(b)(7)(xi)) | Explanation for Delay of Repair * (§60.5420a(b)(7)(xi)) | Type of Instrument Used to Resurvey Repaired Components Not Repaired During Original Survey * (§60.5420a(b)(7)(xii)) | Training and Experience of Surveyor * (§60.5420a(b)(7)(iii)) | Was a monitoring survey waived under § 60.5397a(g)(5)? * (§60.5420a(b)(7)) | If a monitoring survey was waived, the calendar months that make up the quarterly monitoring period for which the monitoring survey was waived. * (§60.5420a(b)(7)) | Number components w/ Fugitive emissions | [7 empty] | Number components w/ Fugitive emissions - NOT REPAIRED
[45 empty] | Valve | Pressure Relief Valve | Flange/Connector | Controller | Thief Hatch | Compressor | Other | TOTAL | Valve | Pressure Relief Valve | Flange/Connector | Controller | Thief Hatch | Compressor | Other | TOTAL
1 | 1 | Blue Racer Midstream, LLC | Marcellus Field Station No. 1 |  | 1076 McKimmee Ridge Road, Reader, WV 26167 |  | Reader | Wetzel | WV | 26167 | 103-00118 | 0.85 miles northeast of Reader, WV | 39.5755 | -80.7186 | 2017-05-01 | 2018-04-30 |  | 1 | Marcellus Field Station No. 1 | 2017-06-15 | 10:00 | 13:00 | Joseph Baughman | 75 | Sunny | 5 mph | FLIR GF-320 | None | Connectors, Valve | (6) Connector, (1) Valve | N/A | 0 | N/A | 0 | N/A | 0 | 2017-07-07 | Connector | 1 | Required shut down | FLIR GF-320 | Trained thermographer; completed 40-hour course at FLIR Training Center. Accompanied by Shay Black, with 6 years experience. |  |  | 1 |  | 6 |  |  |  |  | 7 | [7 empty] | 0
1 | 1 | [7 empty] | WV | [8 empty] | 2 | Marcellus Field Station No. 1 | 2017-09-22 | 11:00 | 14:00 | Joseph Baughman | 80 | Partly Cloudy | 2 mph | FLIR GF-320 | None | Connectors | 2 | N/A | 0 | N/A | 0 | N/A | 0 | 2017-10-20 | N/A | 0 | N/A | FLIR GF-320 | Trained thermographer; completed 40-hour course at FLIR Training Center. Has 5 years experience with OGI surveys |  |  |  |  | 2 |  |  |  |  | 2 | [7 empty] | 0
1 | 1 | [7 empty] | WV | [8 empty] | 3 | Marcellus Field Station No. 1 | 2017-12-15 | 11:30 | 14:00 | Joseph Baughman | 32 | Cloudy | 4 mph | FLIR GF-320 | None | Connectors | 0 | N/A | 0 | N/A | 0 | N/A | 0 | N/A | N/A | 0 | N/A | FLIR GF-320 | Trained thermographer; completed 40-hour course at FLIR Training Center. Accompanied by Shay Black, with 6 years experience. | No | N/A | [7 empty] | 0 | [7 empty] | 0
1 | 1 | [7 empty] | WV | [8 empty] | 4 | Marcellus Field Station No. 1 | 2018-03-02 | 9:00 | 12:00 | Joey Kelly | 30 | Cloudy | 11 mph | FLIR GF-320 | None | Connectors, Valve | (4) Connector, (2) Valve | N/A | 0 | N/A | 0 | N/A | 0 | 2018-03-02 | Connectors | 3 | Required shut down | FLIR GF-320 | Trained thermographer; completed 40-hour course at FLIR Training Center. Accompanied by Shay Black, with 6 years experience. | No | N/A | 2 |  | 4 |  |  |  |  | 6 | [7 empty] | 0
2 | 1 | WTG South Permian Midstream LLC | Sonora Compressor Station | NA | NA | NA | Rankin | Upton | TX | 79778 | RN107248353 | Driving Directions: Head W on US 67 for 14.6 miles. Turn R onto FM 1555 for 6.8 miles. Turn L onto unnamed FR for 0.9 mile. Turn R onto unnamed rd for 1.8 mile. | 31.3419 | -101.7764 | 2016-10-06 | 2017-10-05 |  | 1 | Sonora Compressor Station | 2017-08-23 | 8:53 | 9:53 | Roy | 70°F | Cloudy | 6 mph | OPGAL EyeCGas S/N 03005 | None | Connector | 1 | NA | NA | NA | NA | NA | NA | 2017-09-06 | NA | NA | NA | Snoop | Supervisor: Independently determine cross regulatory applicability and understand customer permits to trouble shoot and recognize regulatory and operations issues proactively. Well versed in field equipment operation, ability to query, filter, and "data mine" OGI & Method 21 databases as an audit function of programs. Proven communication and people skills to effectively supervise technicians and interface customers on daily operation and program implementation. Manage large sites and/or multiple sites. | No | NA |  |  | 1 |  |  |  |  | 1 | [7 empty] | 0
3 | 1 | WTG South Permian Midstream LLC | McGill 69 Compressor Station |  |  |  | Rankin | Upton | TX | 79778 | RN102507175 | From Int. US-67 & TX-349, Rankin, TX, Head North on TX-349 (14.6 miles); Turn Left (W) onto CR-111A (7.2 miles); Turn Left (S) onto Lease Road (0.9 mile); Turn Right (W) onto Lease Road (0.9 mile); Turn Right Site is at end | 31.390361 | -102.060154 | 2017-02-24 | 2018-02-23 |  | 1 | McGill 69 Compressor Station | 2017-08-23 | 11:44 | 12:51 | Roy Massengale | 74 | Cloudy | 5 | OpGal S/N#: 03005 | None | Valves, Other | (1) Valve, (6) Other |  | 0 |  |  |  |  | 2017-08-23 |  |  |  | OpGal S/N#: 03005 | Tech II skills plus manages large sites and/or multiple sites. Ability to trouble shoot and recognize regulatory and operational issues before they happen. Proven communication and people skills as relates to supervision of multiple technicians and customers . | No | N/A | 1 | [5 empty] | 6 | 7 | [7 empty] | 0
3 | 1 | [7 empty] | TX | [8 empty] | 2 | McGill 69 Compressor Station | 2017-11-01 | 8:40 | 10:07 | Rick Garcia | 59 | Mostly Sunny | 2 | OpGal S/N#: 14050125 | None | Valves | (2) Valves, (1) Connectors |  | 0 |  |  |  |  | 2017-11-01 |  |  |  | OpGal S/N#: 14050125 | Assistant Tech skills plus increased functionality and independent implementation of PC based management software and Mobil devices for both IR and Method 21 programs, ability to build upload/download files, Daily leak logs provided to customer, upload and download of IR camera files, basic understanding of regulations that apply to individual customers. Interface with customers as it relates to daily operation. | No | N/A | 2 |  | 1 |  |  |  |  | 3 | [7 empty] | 0
3 | 1 | [7 empty] | TX | [8 empty] | 3 | McGill 69 Compressor Station | 2018-01-09 | 14:08 | 14:49 | Dakota Redwine | 74 | Sunny | 14 | OpGal S/N#: 14050125 | None | Valves | (1) Valve, (1) Connector |  | 0 |  |  |  |  | 2018-01-31 |  |  |  | Snoop | Assistant Tech skills plus increased functionality and independent implementation of PC based management software and Mobil devices for both IR and Method 21 programs, ability to build upload/download files, Daily leak logs provided to customer, upload and download of IR camera files, basic understanding of regulations that apply to individual customers. Interface with customers as it relates to daily operation. | No | N/A | 1 |  | 1 |  |  |  |  | 2 | [7 empty] | 0
4 | 1 | Davis Gas Processing, Inc. | Irion County Compressor Station | N/A | N/A | N/A | Barnhart | Irion | TX | 76930 | RN102744398 | HIGHWAY 163 10 MI N OF BARNHART | 31.2695 | -101.1625 | 2016-08-02 | 2017-08-01 |  | 1 | Irion County Compressor Station | 2017-08-21 | 14:03 | 15:02 | Roy Massengale | 85 | Sunny | 8 | OpGal S/N#: 03005 | None | Connectors, Pressure Relief Device | (1) Connector, (1) Pressure Relief Device | 0 | 0 | N/A | 0 | 0 | 0 | 2017-08-21 | N/A | 0 | N/A | OpGal S/N#: 03005 | Tech II skills plus manages large sites and/or multiple sites. Ability to trouble shoot and recognize regulatory and operational issues before they happen. Proven communication and people skills as relates to supervision of multiple technicians and customers . | No | N/A |  | 1 | 1 |  |  |  |  | 2 | [7 empty] | 0
4 | 1 | [7 empty] | TX | [8 empty] | 2 | Irion County Compressor Station | 2017-11-07 | 8:39 | 9:24 | Rick Garcia | 68 | Sunny | 1 | OpGal S/N#: 50125 | None | Connectors, Pressure Relief Device, Other | (2) Connector, (1) Pressure Relief Device, (1) Other | 0 | 0 | N/A | 0 | 0 | 0 | 2017-11-30 | N/A | 0 | N/A | Snoop | Assistant Tech skills plus increased functionality and independent implementation of PC based management software and Mobil devices for both IR and Method 21 programs, ability to build upload/download files, Daily leak logs provided to customer, upload and download of IR camera files, basic understanding of regulations that apply to individual customers. Interface with customers as it relates to daily operation. | No | N/A |  | 1 | 2 |  |  |  | 1 | 4 | [7 empty] | 0
4 | 1 | [7 empty] | TX | [8 empty] | 3 | Irion County Compressor Station | 2018-01-18 | 7:51 | 8:29 | Dakota Redwine | 27 | Cloudy | 1 | OpGal EyeCGas S/N#: TCG14050125 | None | Flange, Others, Others | (1) Flange, (3) Other | 0 | 0 | N/A | 0 | 0 | 0 | 2018-02-06 | N/A | 0 | N/A | Snoop | Assistant Tech skills plus increased functionality and independent implementation of PC based management software and Mobil devices for both IR and Method 21 programs, ability to build upload/download files, Daily leak logs provided to customer, upload and download of IR camera files, basic understanding of regulations that apply to individual customers. Interface with customers as it relates to daily operation. | No | N/A |  |  | 1 |  |  |  | 3 | 4 | [7 empty] | 0
4 | 1 | [7 empty] | TX | [8 empty] | 4 | Irion County Compressor Station | 2018-04-11 | 14:59 | 15:48 | Dakota Redwine | 84 | Sunny | 24 | OpGal EyeCGas S/N#: TCG14050125 | None | Others | (6) Others | 0 | 0 | N/A | 0 | 0 | 0 | 2018-05-10 | N/A | 0 | N/A | Snoop | Assistant Tech skills plus increased functionality and independent implementation of PC based management software and Mobil devices for both IR and Method 21 programs, ability to build upload/download files, Daily leak logs provided to customer, upload and download of IR camera files, basic understanding of regulations that apply to individual customers. Interface with customers as it relates to daily operation. | No | N/A | [6 empty] | 6 | 6 | [7 empty] | 0
4 | 1 | [7 empty] | TX | [8 empty] | 5 | Irion County Compressor Station | 2018-07-12 | 11:11 | 11:43 | Dakota Redwine | 86 | Sunny | 4 | OpGal EyeCGas S/N#: TCG14050125 | None | Others | (5) Others | 0 | 0 | N/A | 0 | 0 | 0 | 2018-07-12 | N/A | 0 | N/A | OpGal EyeCGas S/N#: TCG14050125 | Assistant Tech skills plus increased functionality and independent implementation of PC based management software and Mobil devices for both IR and Method 21 programs, ability to build upload/download files, Daily leak logs provided to customer, upload and download of IR camera files, basic understanding of regulations that apply to individual customers. Interface with customers as it relates to daily operation. | No | N/A | [6 empty] | 5 | 5 | [7 empty] | 0
5 | 1 | Algonquin Gas Transmission | Southeast Compressor Station |  | 142 Tulip Rd. |  | Brewster | Putnam | NY | 10509 |  |  |  |  | 2016-08-02 | 2017-08-02 |  | 1 | Fugitive Components at Compresor Station | 2017-08-08 | 8:00 | 14:00 | Tracey Collymore | 68 | Overcast | 13 mph | Optical Gas Imaging/GFX-320 | None | Valve, Connector | (2) Valve, (7) Connector | Valve, Connector | (1) Valve, (2) Connector | None | 0 | None | 0 | 2017-10-06 | Valve | 1 | Shutdown Required | Method 21, 8.3.3 Alternative Screening Procedure | Certified technician with 61 months of OGI experience. Refer to Appendix. | No |  | 2 |  | 7 |  |  |  |  | 9 | 1 |  | 1 |  |  |  |  | 2
5 | 2 | Algonquin Gas Transmission | Stony Point Compressor Station |  | 1 Lindberg Rd. |  | Stony Point | Rockland | NY | 10980 | [7 empty] | 2 | Fugitive Components at Compresor Station | 2017-08-07 | 8:00 | 13:30 | Tracey Collymore | 66 | Mostly Cloudy | 10 mph | Optical Gas Imaging/GFX-320 | None | Valve, Connector, Pressure Relief Valve | (3) Valve, (6) Connector, (1) Pressure Relief Valve | None | 0 | None | 0 | None | 0 | 2017-08-22 | Valve | 1 | Shutdown Required | Method 21, 8.3.3 Alternative Screening Procedure | Certified technician with 61 months of OGI experience. Refer to Appendix. | No |  | 3 | 1 | 6 |  |  |  |  | 10 | [7 empty] | 0
6 | 1 | Enterprise Field Services, LLC | Oxy Sand Dunes South Compressor Station | N/A | See Latitude and Longitude |  | Loving | Eddy | NM | 88256 | 35289 | See Latitude and Longitude | N 32.218375 | W -103.816984 | 2017-04-01 | 2018-03-31
7 | 1 | Enterprise Field Services, LLC | Cedar Canyon Compressor Station | N/A | See Latitude and Longitude |  | Loving | Eddy | NM | 88256 | 33561 | See Latitude and Longitude | N 32.22168 | W -103.97359 | 2017-04-01 | 2018-03-31 |  | 1 | Cedar Canyon CS | 2017-04-04 | 10:42 | 15:02 | Kyle Bragg/Ricky Hill | 60°F | Sunny, No clouds | 21 mph | FID-phx21 1301/1289 | None | Valve, Relief Valve, Connector | (6) Valve, (1) Relief Valve, (3) Connector | N/A | 0 | Valve, relief valve, connector | 3, 1, 5 | N/A | 0 | 4/13/17, 4/19/17 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 6 | 1 | 3 |  |  |  |  | 10 | [7 empty] | 0
7 | 1 | [7 empty] | NM | [8 empty] | 2 | Cedar Canyon CS | 2017-04-05 | 7:05 | 14:49 | Kyle Bragg/Ricky Hill | 66°F | Sunny, No clouds | 12 mph | FID-phx21 1301/1289 | None | Valve, Connector | (11) Valve, (5) Connector | Valve | (1) Valve | Valve, Connector | 5, 2 | N/A | 0 | 4/13/17, 4/20/17 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 11 |  | 5 |  |  |  |  | 16 | 1 | [6 empty] | 1
7 | 1 | [7 empty] | NM | [8 empty] | 3 | Cedar Canyon CS | 2017-04-06 | 7:13 | 12:02 | Kyle Bragg/Ricky Hill | 79°F | Sunny, No clouds | 15 mph | FID-phx21 1301/1289 | None | Valve, Connector | (4) Valve, (1) Connector | Valve | (1) Valve | N/A | 0 | N/A | 0 | 2017-04-13 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 4 |  | 1 |  |  |  |  | 5 | 1 | [6 empty] | 1
7 | 1 | [7 empty] | NM | [8 empty] | 4 | Cedar Canyon CS | 2017-04-20 | 7:47 | 9:02 | Ricky Hill | 84°F | Sunny, No clouds | 24 mph | FID-phx21 1289 | None | Valve | (2) Valve | Valve | (2) Valve | N/A | 0 | N/A | 0 | 4/26/18, 5/17/18 | Valve | 2 |  | LDARTools phx21 | N/A | No | N/A | 2 | [6 empty] | 2 | 2 | [6 empty] | 2
7 | 1 | [7 empty] | NM | [8 empty] | 5 | Cedar Canyon CS | 2017-07-20 | 7:11 | 15:04 | Kyle Bragg/Ricky Hill | 96°F | Sunny, No clouds | 17 mph | FID-phx21 1301/1289 | None | Valve, Connector | (6) Valve, (3) Connector | N/A | 0 | N/A | 0 | N/A | 0 | 7/20/17, 7/21/17 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 6 |  | 3 |  |  |  |  | 9 | [7 empty] | 0
7 | 1 | [7 empty] | NM | [8 empty] | 6 | Cedar Canyon CS | 2017-07-21 | 7:00 | 14:37 | Kyle Bragg/Ricky Hill | 96°F | Sunny, No clouds | 22 mph | FID-phx21 1301/1289 | None | Valve, Relief Valve, Connector | (5) Valve, (4) Relief Valve, (1) Connector | N/A | 0 | N/A | 0 | N/A | 0 | 7/21/17, 8/2/17 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 5 | 4 | 1 |  |  |  |  | 10 | [7 empty] | 0
7 | 1 | [7 empty] | NM | [8 empty] | 7 | Cedar Canyon CS | 2017-08-03 | 7:22 | 9:00 | Ricky Hill | 90°F | Sunny, No clouds | 13 mph | FID-phx21 1289 | None | N/A | 0 | N/A | 0 | N/A | 0 | N/A | 0 | 2017-08-02 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | [7 empty] | 0 | [7 empty] | 0
7 | 1 | [7 empty] | NM | [8 empty] | 8 | Cedar Canyon CS | 2017-10-18 | 8:00 | 15:00 | Kyle Bragg/Ricky Hill | 84°F | Sunny, No clouds | 10 mph | FID-phx21 1301/1289 | None | Valve, Relief Valve, Connector | (6) Valve, (1) Relief Valve, (1) Connector | N/A | 0 | N/A | 0 | N/A | 0 | 10/24/17, 11/16/17 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 6 | 1 | 1 |  |  |  |  | 8 | [7 empty] | 0
7 | 1 | [7 empty] | NM | [8 empty] | 9 | Cedar Canyon CS | 2017-10-19 | 7:43 | 14:45 | Kyle Bragg/Ricky Hill | 75°F | Cloudy | 18 mph | FID-phx21 1301/1289 | None | Valve, Relief Valve, Connector | (5) Valve, (1) Relief Valve, (3) Connector | N/A | 0 | N/A | 0 | N/A | 0 | 10/24/17, 11/16/17 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 5 | 1 | 3 |  |  |  |  | 9 | [7 empty] | 0
7 | 1 | [7 empty] | NM | [8 empty] | 10 | Cedar Canyon CS | 2017-11-01 | 13:00 | 15:05 | Kyle Bragg/Ricky Hill | 80°F | Sunny, No clouds | 33 mph | FID-phx21 1301/1289 | None | Valve, Relief Valve | (3) Valve, (1) Relief Valve | Valve, Relief Valve | (3) Valve, (1) Relief Valve | N/A | 0 | N/A | 0 | 1/10/18, 2/5/18, 4/5/18 | Valve, Relief Valve | 3,1 |  | LDARTools phx21 | N/A | No | N/A | 3 | 1 | [5 empty] | 4 | 3 | 1 | [5 empty] | 4
7 | 1 | [7 empty] | NM | [8 empty] | 11 | Cedar Canyon CS | 2018-01-11 | 8:05 | 15:00 | Kyle Bragg/Ricky Hill | 52°F | Cloudy | 32 mph | FID-phx21 1301/1276 | None | Valve, Relief Valve, Connector | (4) Valve, (1) Relief Valve, (1) Connector | Valve, Relief Valve, Connector | (4) Valve, (1) Relief Valve, (1)Connector | N/A | 0 | N/A | 0 | 2/5/18, 4/4/18, 4/5/18, 4/26/18 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 4 | 1 | 1 |  |  |  |  | 6 | 4 | 1 | 1 |  |  |  |  | 6
7 | 1 | [7 empty] | NM | [8 empty] | 12 | Cedar Canyon CS | 2018-01-12 | 7:35 | 15:00 | Kyle Bragg/Ricky Hill | 61°F | Sunny, No clouds | 15 mph | FID-phx21 1301/1276 | None | Valve, Relief Valve, Connector | (4) Valve, (1) Relief Valve, (3) Connector | Valve, Relief Valve, Connector | (4) Valve, (1) Relief Valve, (3) Connector | N/A | 0 | N/A | 0 | 2/5/18, 4/5/18, 4/26/18, 5/3/18 | N/A | 0 | N/A | LDARTools phx21 | N/A | No | N/A | 4 | 1 | 3 |  |  |  |  | 8 | 4 | 1 | 3 |  |  |  |  | 8
7 | 1 | [7 empty] | NM | [8 empty] | 13 | Cedar Canyon CS | 2018-02-05 | 13:00 | 15:00 | Ricky Hill | 69°F | Sunny, No clouds | 13 mph | FID-phx21 1276 | None | Valve, Relief Valve, Connector | (8) Valve, (2) Relief Valve, (4) Connector | Valve, Relief Valve, Connector | (8) Valve, (2) Relief Valve, (4) Connector | N/A | 0 | N/A | 0 | 4/4/18,4/5/18,4/26/18,5/3/18, 5/17/18 | Valve, Relief Valve, Connector | 8, 2, 4 |  | LDARTools phx21 | N/A | No | N/A | 8 | 2 | 4 |  |  |  |  | 14 | 8 | 2 | 4 |  |  |  |  | 14
8 | 1 | Hiland Partners Holdings LLC | Jamestown Compressor Station |  | 13027 40th St NW |  | Arnegard | McKenzie | ND | 58835 | PTO17009 | 14 miles North of Watford City | 47.9924 | -103.3691 | 2017-02-15 | 2017-12-31 |  | 1 | Jamestown Compressor Station | 2017-08-16 | 07:48 AM | 10:47 AM | Kyle Haag, Brian Palmer | 60 | Clear | 4 | FLIR GF320 44401642 | None | Connector, Flange, Covers | (12) Connector, (1) Flange, (1) Covers | [6 empty] | 2017-08-16 |  |  |  | FLIR GF320 44401642 | Infrared training center certified thermographer; Has 3 months experience. |  |  |  |  | 13 |  |  |  | 1 | 14 | [7 empty] | 0
8 | 1 | [7 empty] | ND | [8 empty] | 2 | Jamestown Compressor Station | 2017-11-08 | 10:37 AM | 12:56 PM | Craig Baumann | 24 | Cloudy | 5 | FLIR GF320 44401642 | None | Compressor, Valve | (1) Compressor, (1) Valve | [6 empty] | 2017-11-27 |  |  |  | Method 21- Soap Bubbles | Infrared training center certified thermographer; Has 1 year 4 months experience. |  |  | 1 |  |  |  |  | 1 |  | 2 | [7 empty] | 0
9 | 1 | Hiland Partners Holdings LLC | Edgewater Compressor Station |  | 9302 47th Street NW |  | New Town | Mountrail | ND | 58763 | PTC17030 | 11 miles NE od New Town | 48.0969 | -102.6356 | 2017-07-16 | 2017-12-31 |  | 1 | Edgewater Compressor Station | 2017-09-06 | 08:54 AM | 10:17 AM | Kyle Haag | 69 | Clear | 6 | FLIR GF320 44401642 | None | Connector, Flange | (3) Connector, (1) Flange | [6 empty] | 2017-09-06 |  |  |  | FLIR GF320 44401642 | Infrared training center certified thermographer; Has 4 months experience. |  |  |  |  | 1 | 3 |  |  |  | 4 | [7 empty] | 0
9 | 1 | [7 empty] | ND | [8 empty] | 2 | Edgewater Compressor Station | 2017-11-09 | 08:20 AM | 10:20 AM | Craig Baumann | 28 | Cloudy | 5 | FLIR GF320 44401642 | None | Compressor | (1) Compressor | [6 empty] | 2017-11-30 |  |  |  | Method 21- Soap Bubbles | Infrared training center certified thermographer; Has 1 year 4 months experience. | [7 empty] | 1 |  | 1 | [7 empty] | 0
10 | 1 | Kinder Morgan | Thomaston Compressor Station | NA | 5276 Hwy 19 S |  | Thomaston | Upson | GA | 30286 | 29300025 | 7 miles south of Thomaston, GA | 32.7877 | -84.2544 | 2017-07-01 | 2018-06-30 |  | 1 | Thomaston Compressor Station | 2017-08-21 | 7:25 | 17:35 | Brandon Kennemur | 79° | Clear | 5 MPH | OGI Camera | None | Compressor, Connector, Valve, Meter, Flange | (12) Compressor, (7) Connector, (21) Valve, (4) Meter, (1) Flange | None | 0 | None | None | None | None | 9/6/17, 10/26/17, 1/15/18, 2/26/18 | Compressor | 11 | Blowdown is required | Soap and Water Sprayer/OGI | OGI Thermographer, completed Flir Infrared Training Certification, ITC Certification # 102235 | No | NA | 21 |  | 8 |  |  | 12 | 4 | 45 | [7 empty] | 0
10 | 1 | [7 empty] | GA | [8 empty] | 2 | Thomaston Compressor Station | 2017-10-26 | 7:45 | 15:30 | Brandon Kennemur | 45° | Clear | 4 MPH | OGI Camera | None | Compressor, Valve, Thief Hatch | (3) Compressor, (14) Valve, (1) Thief Hatch | None | 0 | None | 0 | None | 0 | 2018-03-20 | Compressor | 3 | Blowdown is required | Soap and Water Sprayer/OGI | OGI Thermographer, completed Flir Infrared Training Certification, ITC Certification # 102235 | No | NA | 14 |  |  |  | 1 | 3 |  | 18 | [7 empty] | 0
10 | 1 | [7 empty] | GA | [8 empty] | 3 | Thomaston Compressor Station | 2018-02-27 | 7:50 | 15:45 | Brandon Kennemur | 47° | Partly Cloudy | 7 MPH | OGI Camera | None | Connector, Valve | (9) Connector, (1) Valve | None | 0 | None | None | None | None | 3/7/18, 3/8/18, 4/4/18, 5/9/18 | Connector | 2 | Blowdown is required | Soap and Water Sprayer/OGI | OGI Thermographer, completed Flir Infrared Training Certification, ITC Certification # 102235 | No | NA | 1 |  | 9 |  |  |  |  | 10 | [7 empty] | 0
10 | 1 | [7 empty] | GA | [8 empty] | 4 | Thomaston Compressor Station | 2018-05-03 | 7:25 | 13:45 | Brandon Kennemur | 58° | Clear | 1 MPH | OGI Camera | None | Valve, Connector, Flange | (9) Valve, (5) Connector, (1) Flange | None | 0 | None | None | None | None | 5/8/18, 5/22/18, 5/23/18, 5/24/18 | Valve | 3 | Blowdown is required | Soap and Water Sprayer/OGI | OGI Thermographer, completed Flir Infrared Training Certification, ITC Certification # 102235 | No | NA | 9 |  | 6 |  |  |  |  | 15 | [7 empty] | 0
11 | 1 | Hiland Partners Holdings LLC | Red Bank Compressor Station |  | 14474 60th Street NW |  | Williston | Williams | ND | 58801 | PTC14077 | 12 miles NW of Williston | 48.2841 | -103.8134 | 2017-07-12 | 2017-12-31 |  | 1 | Red Bank Compressor Station | 2017-09-06 | 12:21 PM | 02:33 PM | Kyle Haag | 78 | Clear | 26 | FLIR GF320 44401642 | None | Valve, Connector | (1) Valve, (4) Connector | [6 empty] | 2017-09-06 |  |  |  | FLIR GF320 44401642 | Infrared training center certified thermographer; Has 4 months experience. |  |  | 1 |  | 4 |  |  |  |  | 5 | [7 empty] | 0
11 | 1 | [7 empty] | ND | [8 empty] | 2 | Red Bank Compressor Station | 2017-11-09 | 11:59 AM | 01:46 PM | Craig Baumann | 31 | Partly Cloudy | 8 | FLIR GF320 44401642 | None | Valve, Connector | (1) Valve, (1) Connector | [6 empty] | 2017-11-30 |  |  |  | Method 21- Soap Bubbles | Infrared training center certified thermographer; Has 1 year 4 months experience. |  |  | 1 |  | 4 |  |  |  |  | 5 | [7 empty] | 0
12 | 1 | Hiland Partners Holdings LLC | Forthune Compressor Station |  | 13909 35th Street NW |  | Alexander | McKenzie | ND | 58831 | PTO18001 | 7 miles NW of Alexander | 47.9219 | -103.5636 | 2017-08-31 | 2017-12-31 |  | 1 | Forthune Compressor Station | 2017-11-08 | 08:20 AM | 09:50 AM | Craig Baumann | 16 | Cloudy | 7 | FLIR GF320 44401642 | None | Valve, Connector | (1) Valve, (1) Connector | [6 empty] | 2017-11-08 |  |  |  | FLIR GF320 44401642 | Infrared training center certified thermographer; Has 1 year 4 months experience. |  |  | 1 |  | 1 |  |  |  |  | 2 | [7 empty] | 0
13 | 1 | Cedar Cove LLC | Diamondback Compressor Station |  | Sec 8, T16N, R11W |  |  | Blaine | OK |  | 16830 | Take Rt 3 East from Watonga, OK to Rd 2590, go North 2.4 miles. The station is on the left. | 35.8767 | -98.3863 | 2017-01-26 | 2018-01-26 |  | 1 | Diamondback Compressor Station | 2017-09-12 | 9:00 | 10:00 | Daniel Archer, w/GHD | 65°F | Scattered Clouds | 15 mph | FLIR GF-320 OGI Camera | A deviation from the monitoring plan occurred since initial monitoring did not occur by June 3, 2017 or within 60 days of startup or modification, whichever is later. This was due to the confusion with the program stays. Given the stay developments and once Cedar Cove Midstream LLC decided to conduct initial monitoring, the initial monitoring was conducted on 9/12/17. Cedar Cove Midstream LLC considers the monitoring reported herein as demonstration of initial and ongoing compliance and submits the information as the basis of the first annual report. | Connector, Valve | (1) Connector, (3) Valve | n/a | n/a | n/a | n/a | n/a | n/a | 2017-11-16 | connector | 1 | Station Shut Down Required | Soap Bubble Test | Trained thermographer; completed Optical Gas Imaging Thermographer Course presented by the Infrared Training Center. | no | n/a | 3 |  | 1 |  |  |  |  | 4 | [7 empty] | 0
13 | 1 | [7 empty] | OK | [8 empty] | 2 | Diamondback Compressor Station | 2017-11-14 | 8:15 | 8:50 | Daniel Archer, w/GHD | 50°F | Cloudy, fog 0.5 mile visibility | 10 mph | FLIR GF-320 OGI Camera | none | None | 0 | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | n/a | Trained thermographer; completed Optical Gas Imaging Thermographer Course presented by the Infrared Training Center. | no | n/a | [7 empty] | 0 | [7 empty] | 0
13 | 1 | [7 empty] | OK | [8 empty] | 3 | Diamondback Compressor Station | 2018-01-30 | 9:00 | 10:00 | Daniel Archer, w/GHD | 35°F | Mostly Cloudy | 20 mph | FLIR GF-320 OGI Camera | none | Connector | (1) Connector | n/a | n/a | n/a | n/a | n/a | n/a | 2018-01-30 | n/a | n/a | n/a | FLIR GF-320 OGI Camera | Trained thermographer; completed Optical Gas Imaging Thermographer Course presented by the Infrared Training Center. | no | n/a |  |  | 1 |  |  |  |  | 1 | [7 empty] | 0
14 | 1 | Kinder Morgan Altamont LLC | Ravolla Compressor Station |  | 3122 South 12000 West |  | Arcadia | Uintah | UT | 84021 |  | NESW Sec 18 T3S R1E | 40.2199 | -109.931 | 2017-04-27 | 2018-04-26 |  | 1 | Ravolla Compressor Station | 2017-08-15 | 8:25 | 13:00 | Darin Ward | 75 F | Mostly Coudy | 4.7 mph | FLIR GF320, SN #: 444400985 | Initial monitoring was due by 6/26/17 but was conducted after that date due to effective date of initial survey due date being stayed until 8/31/17 (but was later repealed). | Thief hatch, connector, valve | (1) Thief hatch, (1) connector, (1) valve |  |  | none | 0 | none | 0 | 8/15/17, 8/16/17, 9/13/17 | none | 0 | not applicable | Method 21 soap bubble test | Completed FLIR Certified Level I Infrared Thermography Course | No |  | 1 |  | 1 |  | 1 |  |  | 3 | [7 empty] | 0
14 | 1 | [7 empty] | UT | [8 empty] | 2 | Ravolla Compressor Station | 2017-11-09 | 10:25 | 16:30 | Darin Ward | 47.5 F | Sunny/clear | 1.7 mph | FLIR GF320, SN #: 444400985 | None | Connector, Valve | (5) Connector, (2) Valve |  |  | none | 0 | none | 0 | 11/9/17, 11/9/17, 11/9/17, 12/4/17, 11/9/17, 11/9/17, 11/9/17 | none | 0 | not applicable | Method 21 soap bubble test | Completed FLIR Certified Level I Infrared Thermography Course | No |  | 2 |  | 5 |  |  |  |  | 7 | [7 empty] | 0
14 | 1 | [7 empty] | UT | [8 empty] | 3 | Ravolla Compressor Station | 2018-02-20 | 7:45 | 10:15 | Sterling Badon | 5 F | Partially coudy | 4.0 mph | FLIR GF320, SN #: 444400985 | None | Valve, connector | (1) Valve, (4) Connector |  |  | none | 0 | none | 0 | 2/20/18, 2/20/18, 2/20/18, 2/20/18, 2/20/18 | none | 0 | not applicable | All leaks repaired on day of survey and confirmed repair with OGI camera | Completed FLIR Certified Level I Infrared Thermography Course | No |  | 1 |  | 4 |  |  |  |  | 5 | [7 empty] | 0
14 | 1 | [7 empty] | UT | [8 empty] | 4 | Ravolla Compressor Station | 2018-04-24 | 8:45 | 11:00 | Sterling Badon | 49 F | Clear | 6.0 mph | FLIR GFX320, SN #: 74900223 | None | Connector/union | (1) Connector/union |  |  | none | 0 | none | 0 | 2018-04-24 | none | 0 | not applicable | All leaks repaired on day of survey and confirmed repair with OGI camera | Completed FLIR Certified Level I Infrared Thermography Course | No |  |  |  | 1 |  |  |  |  | 1 | [7 empty] | 0
15 | 1 | Kinder Morgan Pipeline LLC | Jackson Compressor Station | NA | 8110 FM 530 |  | Edna | Jackson | TX | 77957 |  | From Edna, Texas Head Northeast On Us-59 Bus N/e Main St Toward N Menefee St, Continue To Follow Us-59 Bus N For 3.3 Miles. Turn Left Onto Fm530 For 8.3 Miles. Site On Left. | 29.1116 | -96.6295 | 2017-05-08 | 2018-05-07 |  | 1 | Jackson Compressor Station | 2017-09-26 | 7:00 | 11:00 | Joshua Kirchner | 72°F | Clear skies | <5 mph | FLIR GF-320 Infrared Camera | None | Control valve, Connection, Connection | (1) Control valve, (2) Connection | None | None | None | None | None | None | 2017-10-23 | None | None | None | Soap bubble test | The camera operator, has attended the Optical Gas Imaging Thermographer Course presented by the Infrared Training Center. Training certificates available upon request. | No | NA | 1 |  | 2 |  |  |  |  | 3 | [7 empty] | 0
15 | 1 | [7 empty] | TX | [8 empty] | 2 | Jackson Compressor Station | 2017-12-12 | 8:20 | 9:00 | Joshua Kirchner | 50°F | Clear skies | 0 mph | FLIR GF-320 Infrared Camera | None | 3/4" Plug, Hatch Seal on Pig Catcher, Y Strainer | (1) 3/4" Plug, (1) Hatch Seal on Pig Catcher, (1) Y Strainer | None | None | None | None | None | None | 2017-12-12 | None | None | None | NA-Repaired during survey | The camera operator, has attended the Optical Gas Imaging Thermographer Course presented by the Infrared Training Center. Training certificates available upon request. | No | NA | [6 empty] | 3 | 3 | [7 empty] | 0
15 | 1 | [7 empty] | TX | [8 empty] | 3 | Jackson Compressor Station | 2018-03-07 | 7:30 | 9:30 | Joshua Kirchner | 55°F | Clear skies | 5 mph | FLIR GF-320 Infrared Camera | None | Union connection on sight glass on Comp 2 | (1) Union connection on sight glass on Comp 2 | Union connection on sight glass on Comp 2 | (1) Union connection on sight glass on Comp 2 | None | None | None | None | NA | Union connection on sight glass on Comp 2 |  | Repair requires compressor station shutdown | NA | The camera operator, has attended the Optical Gas Imaging Thermographer Course presented by the Infrared Training Center. Training certificates available upon request. | No | NA | [6 empty] | 1 | 1 | [6 empty] | 1 | 1
15 | 1 | [7 empty] | TX | [8 empty] | 4 | Jackson Compressor Station | 2018-05-09 | 8:00 | 9:30 | Joshua Kirchner | 65°F | Clear skies | <5mph | FLIR GF-320 Infrared Camera | None | PRV on H2O K.O., PVR on pig catcher, Connection on Comp 2 | (1) PRV on H2O K.O., (1) PVR on pig catcher, (1) Connection on Comp 2 | None | None | None | None | None | None | 2018-05-10 | None | None | None | Soap bubble test | The camera operator, has attended the Optical Gas Imaging Thermographer Course presented by the Infrared Training Center. Training certificates available upon request. | No | NA |  |  | 1 |  |  |  | 2 | 3 | [7 empty] | 0
16 | 1 | Linn Energy, LLC | Tuttle Compressor Station |  | 1425 North Cemetery Road |  | Tuttle | Grady | OK | 73089 | 2016-0897-O |  |  |  | 03/13/2017 | 09/11/2017 | [12 empty] | Valve, Connector | (1) Valve, (1), Connector | Valve, Connector | (1) Valve, (1), Connector | [12 empty] | 1 |  | 1 |  |  |  |  | 2 | 1 |  | 1 |  |  |  |  | 2
17 | 1 | Merit Energy Company, LLC | McAllen Ranch Central Production Facility |  |  |  |  | Hidalgo | TX |  | RN102599560 | FROM MCCOOK; FM 681 NORTH; 12 MILES; RIGHT ON FM 1017; 4.5 MILES EAST TO PLANT | 26.6207 | -98.3164 | 2015-09-18 | 2017-08-02 |  | 1 | McAllen Ranch CPF | 2017-09-12 | 15:48 | 17:20 | Russell Hamm | 97 | Clear | 6.2 | FLIR GF Series Camera- GF 320 | None | Controller, Regulator | (1) Controller, (1) Regulator | None | N/A | None | N/A | None | N/A | 2017-09-13 | None | N/A | N/A | N/A | Level 1 Thermographer- ITC-OGI Certified | N/A | N/A |  |  |  | 1 |  |  | 1 | 2 | [7 empty] | 0
17 | 2 | Merit Energy Company, LLC | McAllen Ranch Manifold #5 Facility |  |  |  |  | Hidalgo | TX |  | RN102583770 | FROM INTERSECTION OF HWY 1017 & HWY 681 NEAR LA REFORMA, TX. GO EAST ON HWY 1017 FOR 4 MILES TO PROVATE ROAD ON THE LEFT WITH GUARD H OUSE. CONTINUE DOWN PRIVATE RD FOR 4 MILES | 26.6652 | -98.2989 | 2015-09-18 | 2017-08-02 |  | 2 | McAllen Ranch Manifold # 5 Facility | 2017-09-12 | 17:38 | 18:31 | Russell Hamm | 97.3 | Clear | 3.2 | FLIR GF Series Camera- GF 320 | None | None | N/A | None | N/A | None | N/A | None | N/A | N/A | None | N/A | N/A | N/A | Level 1 Thermographer- ITC-OGI Certified | N/A | N/A | [7 empty] | 0 | [7 empty] | 0
17 | 3 | Merit Energy Company, LLC | East McCook Central Facility |  |  |  |  | Hidalgo | TX |  | RN102570595 | ONE MILE W.OF INTERSECTION 681 ON FM 2058 - 0.9 MILES SOUTH OF MCCOOK, TX ON FM 2058. | 26.4688 | -98.3824 | 2015-09-18 | 2017-08-02 |  | 3 | East McCook Central Facility | 2017-09-12 | 12:03 | 13:07 | Russell Hamm | 87.8 | Clear | 4.7 | FLIR GF Series Camera- GF 320 | None | Regulator, Controller | (2) Regulator, (1) Controller | None | N/A | None | N/A | None | N/A | 2017-09-12 | None | N/A | N/A | N/A | Level 1 Thermographer- ITC-OGI Certified | N/A | N/A |  |  |  | 1 |  |  | 2 | 3 | [7 empty] | 0
17 | 4 | Merit Energy Company, LLC | Javelina Facility |  |  |  |  | Hidalgo | TX |  | RN102570231 | 1.6 MILES WEST of MCCOOK, TX; on HWY 490 | 26.4187 | -98.4187 | 2015-09-18 | 2017-08-02 |  | 4 | Javelina Facility | 2017-09-12 | 13:17 | 14:58 | Russell Hamm | 92.2 | Clear | 7.6 | FLIR GF Series Camera- GF 320 | None | Controller, Fitting | (1) Controller, (1) Fitting | None | N/A | None | N/A | None | N/A | 2017-09-13 | None | N/A | N/A | N/A | Level 1 Thermographer- ITC-OGI Certified | N/A | N/A |  |  |  | 1 |  |  | 1 | 2 | [7 empty] | 0
17 | 5 | Merit Energy Company, LLC | Bentsen Central Compression Facility |  |  |  |  | Starr | TX |  | RN104928619 | FROM PUERTO RICO, TAKE FM 1017 WEST TO FM 681 AND TURN LEFT; GO SOUTH FOR 9.3 MILES TO A ROAD ON THE RIGHT AND TURN RIGHT; GO 5.5 MILES TO SITE ON THE LEFT, PUERTO RICO, STARR COUNTY | 26.5644 | -98.5095 | 2015-09-18 | 2017-08-02 |  | 5 | Bentsen Central Compression Facility | 2017-09-13 | 9:50 | 10:58 | Russell Hamm | 86.2 | Clear | 9.7 | FLIR GF Series Camera- GF 320 | None | Controller, Fitting | (1) Controller, (1) Fitting | None | N/A | None | N/A | None | N/A | 2017-09-13 | None | N/A | N/A | N/A | Level 1 Thermographer- ITC-OGI Certified | N/A | N/A |  |  |  | 1 |  |  | 1 | 2 | [7 empty] | 0
17 | 6 | Merit Energy Company, LLC | El Ebanito Facility |  |  |  |  | Starr | TX |  | RN100841097 | FROM MCCOOK, STARR COUNTY, TEXAS; FM 490 WEST 8 MILES; EL PANAL ROAD SOUTH 2 MILES TO CROSSROAD; CONTINUE SOUTH FROM THE CROSSROAD TAKING THE FORK TO THE RIGHT; FACILITY AHEAD. | 26.48 | -98.5332 | 2015-09-18 | 2017-08-02 |  | 6 | El Ebanito Facility | 2017-09-13 | 7:55 | 10:58 | Russell Hamm | 73.5 | Clear | 3.7 | FLIR GF Series Camera- GF 320 | None | Fitting, Controller, Valve | (1) Fitting, (4) Controller, (2) Valve | None | N/A | None | N/A | None | N/A | 2017-09-13 | None | N/A | N/A | N/A | Level 1 Thermographer- ITC-OGI Certified | N/A | N/A | 2 |  |  | 4 |  |  | 1 | 7 | [7 empty] | 0
17 | 7 | Merit Energy Company, LLC | Pharr No. 26 Facility |  |  |  |  | Hidalgo | TX |  | RN104147277 | GO S. ON 281 IN PHARR, TX. TAKE LEFT ON E. MOORE DR. AFTER 1 MI TAKE RIGHT ON S 1ST. | 26.165 | -98.1661 | 2015-09-18 | 2017-08-02 |  | 7 | Pharr No. 26 Facility | 2017-09-12 | 7:20 | 8:46 | Russell Hamm | 70.5 | Clear | 2.3 | FLIR GF Series Camera- GF 320 | None | Valve, Controller | (2) Valve, (2) Controller | None | N/A | None | N/A | None | N/A | 2017-09-13 | None | N/A | N/A | N/A | Level 1 Thermographer- ITC-OGI Certified | N/A | N/A | 2 |  |  | 2 |  |  |  | 4 | [7 empty] | 0
17 | 8 | Merit Energy Company, LLC | Ward Facility |  |  |  |  | Hidalgo | TX |  | RN102516978 | GO N FROM PHARR TX ON 281 TAKE A LEFT ON W FM 495 AFTER 2 MI TAKE A LEFT ON N JACKSON RD THE FACILITY IS LOCATED 1 MI DOWN THE RD ON THE RIGHT | 26.2038 | -98.2056 | 2015-09-18 | 2017-08-02 |  | 8 | Ward Facility | 2017-09-12 | 9:13 | 11:30 | Russell Hamm | 79 | Clear | 5.1 | FLIR GF Series Camera- GF 320 | None | Controller, Regulator, Fitting, Valve | (2) Controller, (1) Regulator, (1) Fitting, (1) Valve | None | N/A | None | N/A | None | N/A | 2017-09-13 | None | N/A | N/A | N/A | Level 1 Thermographer- ITC-OGI Certified | N/A | N/A | 1 |  |  | 2 |  |  | 2 | 5 | [7 empty] | 0
18 | 1 | North Shore E&P | South Baxter CS | [5 empty] | WY |  |  | ~16 miles southeast of Rock Springs, WY | 41.3668 | -109.1221 | 2017-08-02 | 2018-08-01 | 18 | 1 | South Baxter CS | 2017-12-09 | 8:24 | 10:19 | Bob Ryan | 27 F | Clear | 10 mph | GF321 | None | Valve | 7 | NA | 1 | NA | 1 | NA | 1 | 2018-01-06 | NA | 1 | NA | Snoop | 8 months experience | No |  | 0 | 0 | 5 | 0 | 0 | 0 | 0 | 5 | [7 empty] | 0
18 | 1 | North Shore E&P | South Baxter CS | [5 empty] | WY |  |  | ~16 miles southeast of Rock Springs, WY | 41.3668 | -109.1221 | 2017-08-02 | 2018-08-01 | 18 | 2 | South Baxter CS | 2018-03-23 | 8:05 | 9:08 | Bob Ryan | 35 F | Cloudy | 5 mph | GF320 | None | Flange/Connector | 1 | NA | 0 | NA | 0 | NA | 0 | 2018-03-28 | NA | 0 | NA | Snoop | 10 months experience | No |  | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3 | [7 empty] | 0
18 | 1 | North Shore E&P | South Baxter CS | [5 empty] | WY |  |  | ~16 miles southeast of Rock Springs, WY | 41.3668 | -109.1221 | 2017-08-02 | 2018-08-01 | 18 | 3 | South Baxter CS | 2018-06-21 | 8:21 | 9:05 | Bob Ryan | 70 F | Partly Cloudy | 5 mph | GF320 | None | Meter | 3 | NA | 0 | NA | 0 | NA | 0 | 2018-06-28 | NA | 0 | NA | Snoop | 1 year 1 month experience | No |  | 0 | 0 | 3 | 0 | 0 | 0 | 0 | 3 | [7 empty] | 0
18 | 2 | North Shore E&P | Brady 1W | 49-037-20342 |  |  |  |  | WY |  |  | ~27 miles southeast of Rock Springs | 41.3869 | -108.7506 | 2017-09-13 | 2018-09-12 | 18 | 4 | Brady 1W | 2018-06-21 | 10:08 | 10:28 | Bob Ryan | 74 F | Mostly Clear | 12 mph | GF320 | None | Valve | 1 | NA | 0 | NA | 0 | NA | 0 | 2018-07-18 | NA | 0 | NA | Snoop | 1 year 1 month experience | NA |  | 0 | 0 | 0 | 0 | 1 | 0 | 0 | 1 | [7 empty] | 0
19 | 1 | Aka Energy Group, LLC | Wiedeman Compressor Station | n/a | n/a |  | n/a | Weld County | CO | n/a |  | SW/4 NE/4 Sec 29, R66W, T4N | 40.2833 | -104.8013 | 2016-08-02 | 2017-08-02 | 19 | 1 | Wiedeman Compressor Station | 2017-02-14 | 8:00 | 17:00 | Julio Salazar | 38F | sunny, partial clouds | 12 mph | method 21 | none | Flange/Connector | 4 | flange | 2 | flange | 0 | flange | 0 | 2017-04-17 | flange | 2 | waiting on parts | snoop |  | no |  | 0 | 0 | 6 | 0 | 0 | 0 | 0 | 6 | [7 empty] | 0
20 | 1 | USA Compression Partners, LLC | Mutual Compressor Station | NA | NA |  | Mutual | Woodward County | OK | 73853 | 16995 | From Main and Broadway in Mutual, OK 2 Mi. South and 1/2 Mi. East location on North side of the road. | 36.2025 | -99.1581 | 2017-06-03 | 2017-08-02 | 20 | 1 | Mutual Compressor Station | 2017-06-14 | 9:50 | 10:20 | Greg Stroscher | 81 degrees F | Sunny, no clouds | 9 mph | FLIR GF320 | None | Flange/Connector | 2 | Flange/Connector | 2 | NA | NA | NA | NA | tbd | Flange/Connector | 2 | replacement parts leaked | FLIR GF320 | Infrared Training Center’s FLIR Optical Gas Imaging Certification. Has 3 years experience with OGI surveys | No |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2
21 | 1 | USA Compression Partners, LLC | Moon Compressor Station | NA |  |  | Watonga | Blaine County | OK | 73772 | 16887 | From US-281 and SH-8 South of Geary, OK 13 Mi. North/northwest and 4 1/4 Mi. West. The facility is on the south side of the road. | 35.7827 | -98.4879 | 2017-06-03 | 2017-08-02 | 21 | 1 | Moon Compressor Station | 2017-06-14 | 11:30 | 12:30 | Greg Stroscher | 85 degrees F | Sunny, no clouds | 11 | FLIR GF320 | None | Flange/Connector | 1 | NA | NA | NA | NA | NA | NA | 6/14/2017, 7/19/2017 | NA | NA | NA | FLIR GF320 | Infrared Training Center’s FLIR Optical Gas Imaging Certification. Has 3 years experience with OGI surveys | No |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | [7 empty] | 0
22 | 1 | USA Compression | Lenora CS | NA | from Seiling, OK 8 3/4 Mi. W, 3 Mi. S, 1/2 Mi. W |  | Sieling | Dewey County | OK | 73667 | 17358 | from Seiling, OK 8 3/4 Mi. W, 3 Mi. S, 1/2 Mi. W | 36.1012 | -99.0883 | 2017-06-03 | 2017-08-02 | 22 | 1 | Lenora CS | 2017-06-14 | 8:30 | 9:00 | Greg Stroscher | 77 degrees F | Sunny, no clouds | 12 mph | FLIR GF320 | None | Flange/Connector | 1 | NA | NA | NA | NA | NA | NA | 2017-07-10 | NA | NA | NA | FLIR GF320 | Infrared Training Center’s FLIR Optical Gas Imaging Certification | No |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
23 | 1 | USA Compression | Riddle Compressor Station | NA | From the intersection of Highway 19 and County Road 1450 in Alex, OK turn West and drive 0.3 miles to County Road 2920. Turn left and drive 2.8 miles to the location entrance on your left. |  | Alex | Grady | OK | 73002 | 17736 | Section 25, Township 5N, Range 6W | 34.8668 | -97.7835 | 2018-07-17 | 2018-07-17 | 23 | 1 | Riddle Compressor Station | 2017-08-24 | 8:20 | 11:40 | Greg Stroscher | 68 | Sunny, no clouds | 2 mph | FLIR GF320 | N/A | Flange/Connector | 1 |  | 0 | NA | NA | NA | NA | 2017-08-24 | NA | 0 | NA | FLIR GF320 | Infrared Training Center’s FLIR Optical Gas Imaging Certification | No |  | 0 | 0 | 15 | 0 | 0 | 0 | 0 | 15 | 3 | 0 | 5 | 0 | 0 | 0 | 0 | 8
23 | 1 | USA Compression | Riddle Compressor Station | NA | From the intersection of Highway 19 and County Road 1450 in Alex, OK turn West and drive 0.3 miles to County Road 2920. Turn left and drive 2.8 miles to the location entrance on your left. |  | Alex | Grady | OK | 73002 | 17736 | Section 25, Township 5N, Range 6W | 34.8668 | -97.7835 | 2018-07-17 | 2018-07-17 | 23 | 1 | Riddle Compressor Station | 2017-12-05 | 10:00 | 11:00 | Greg Stroscher | 36 | Overcast | 9 mph | FLIR GF320 | N/A | Flange/Connector | 1 |  | 0 | NA | NA | NA | NA | 2017-12-05 | NA | 0 | NA | FLIR GF320 | Infrared Training Center’s FLIR Optical Gas Imaging Certification | No |  | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 1
23 | 1 | USA Compression | Riddle Compressor Station | NA | From the intersection of Highway 19 and County Road 1450 in Alex, OK turn West and drive 0.3 miles to County Road 2920. Turn left and drive 2.8 miles to the location entrance on your left. |  | Alex | Grady | OK | 73002 | 17736 | Section 25, Township 5N, Range 6W | 34.8668 | -97.7835 | 2018-07-17 | 2018-07-17 | 23 | 2 | Riddle Compressor Station | 2018-02-08 | 13:50 | 14:50 | Greg Stroscher | 60 | Clear | 10 mph | FLIR GF320 | N/A | Flange/Connector | 1 | Flange/Connector | 1 | NA | NA | NA | NA | 2018-02-28 | NA | 0 | NA | FLIR GF320 | Infrared Training Center’s FLIR Optical Gas Imaging Certification | No |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2
23 | 1 | USA Compression | Riddle Compressor Station | NA | From the intersection of Highway 19 and County Road 1450 in Alex, OK turn West and drive 0.3 miles to County Road 2920. Turn left and drive 2.8 miles to the location entrance on your left. |  | Alex | Grady | OK | 73002 | 17736 | Section 25, Township 5N, Range 6W | 34.8668 | -97.7835 | 2018-07-17 | 2018-07-17 | 23 | 3 | Riddle Compressor Station | 2018-05-18 | 11:20 | 12:40 | Greg Stroscher | 81 | Partly Cloudy | 3 mph | FLIR GF320 | N/A | Flange/Connector | 1 | Flange/Connector | 1 | NA | NA | NA | NA | TBD | Flange/Connector | 1 | New part did not fix | FLIR GF320 | Infrared Training Center’s FLIR Optical Gas Imaging Certification | No |  | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 6 | 0 | 1 | 5 | 0 | 0 | 0 | 0 | 6
24 | 1 | Utica Gas Services | Williams - Salem Compressor Station |  | 1410 Twp 221 |  | Bloomingdale | Jefferson | OH | 43910 | 641045006 |  | 40.4267 | -80.8409 | 2017-06-09 | 2018-06-09 | 24 | 1 | Williams - Salem Compressor Station | 2017-08-07 | 8:00 | 18:00 | Amy Louwers | 90 degrees F | Sunny, no clouds | 5 mph | Optical Gas Imaging FLIR Camera, serial number 44402399 | None | Compressor, Flange/Connector, Pressure Relief Valve, valve | 16 | None | None | N/A | N/A | N/A | N/A | 2017-08-28 | None | None | None | N/A | Completed Level 1 thermography course through FLIR Systems. | No. | No. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
24 | 1 | Utica Gas Services | Williams - Salem Compressor Station |  | 1411 Twp 221 |  | Bloomingdale | Jefferson | OH | 43910 | 641045006 |  | 40.4267 | -80.8409 | 2017-06-09 | 2018-06-09 | 24 | 2 | Williams - Salem Compressor Station | 2017-11-02 | 8:00 | 18:00 | Amy Louwers | 58 degrees F | Cloudy | 3 mph | Optical Gas Imaging FLIR Camera, serial number 44402399 | None | Compressor, Flange/Connector, Pressure Relief Valve, valve | 15 | None | None | N/A | N/A | N/A | N/A | 2017-12-01 | None | None | None | N/A | Completed Level 1 thermography course FLIR Systems. | No. | No. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
24 | 1 | Utica Gas Services | Williams - Salem Compressor Station |  | 1412 Twp 221 |  | Bloomingdale | Jefferson | OH | 43910 | 641045006 |  | 40.4267 | -80.8409 | 2017-06-09 | 2018-06-09 | 24 | 3 | Williams - Salem Compressor Station | 2018-01-29 | 8:00 | 18:00 | Amy Louwers | 8 degrees F | Cloudy | 10 mph | Optical Gas Imaging FLIR Camera, serial number 44402399 | None | Compressor, Pressure Relief Valve | 3 | None | None | N/A | N/A | N/A | N/A | 2018-02-27 | None | None | None | N/A | Completed Level 1 thermography course FLIR Systems. | No. | No. | 0 | 3 | 0 | 0 | 0 | 0 | 0 | 3 | [7 empty] | 0
24 | 1 | Utica Gas Services | Williams - Salem Compressor Station |  | 1413 Twp 221 |  | Bloomingdale | Jefferson | OH | 43910 | 641045006 |  | 40.4267 | -80.8409 | 2017-06-09 | 2018-06-09 | 24 | 4 | Williams - Salem Compressor Station | 2018-04-30 | 8:00 | 18:00 | Amy Louwers | 60 degrees F | Sunny, no clouds | 7 mph | Optical Gas Imaging FLIR Camera, serial number 44402399 | None | Flange/Connector, Pressure Relief Valve, valve | 11 | None | None | N/A | N/A | N/A | N/A | 2018-05-29 | None | None | None | N/A | Completed Level 1 thermography course FLIR Systems. | No. | No. | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
25 | 1 | Northwest Pipeline | Boise Compressor Station |  | 28001 South Orchard Access Road |  | Boise | Ada | ID | 83716 |  |  | 43.3477 | -116.0053 | 2017-01-01 | 2017-12-31 | 25 | Nothing Reported | [26 empty] | 0 | 0 | 0 | 0 | 0 | 0 | 0
26 | 1 | Bargath LLC | Crawford Trail Compressor Station | None | office address 2717 Country Road 215, Suite 201 |  | Parachute | Garfield | CO | 81636 | 045/1351 | SW SE Section 23, T6S, R97W | 39.5035 | -108.1842 | 2017-10-01 | 2018-09-30 | 26 | 1 | Crawford Trail Compressor Station | 2017-10-24 | 13:15 | 14:15 | Kirk Richards | 68 F | Sunny, clear | 6 mph | FLIR Optical gas imaging camera | None | Flange/Connector | 1 | None | 0 | None | 0 | None | 0 | 2017-10-24 | None | 0 | NA | Optical gas imaging camera | Trained thermographer, completed Optical Gas imaging course July 29-31, 2014, 3 year of experience | No |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | [7 empty] | 0
26 | 1 | Bargath LLC | Crawford Trail Compressor Station | None | office address 2717 Country Road 215, Suite 205 |  | Parachute | Garfield | CO | 81640 | 045/1355 | SW SE Section 23, T6S, R97W | 39.5035 | -108.1842 | 2017-10-01 | 2018-09-30 | 26 | 2 | Crawford Trail Compressor Station | 2018-01-25 | 9:17 | 10:59 | Brian Palmer | 31 F | Mostly clear | 17 mph | FLIR GF320 | None | Valve | 1 | None | 0 | None | 0 | None | 0 | 2018-01-26 | None | 0 | NA | FLIR GFx320 | Infrared training center certified thermographer; Has 9 months experience. | No |  | 0 | 0 | 2 | 0 | 1 | 0 | 0 | 3 | [7 empty] | 0
26 | 1 | Bargath LLC | Crawford Trail Compressor Station | None | office address 2717 Country Road 215, Suite 207 |  | Parachute | Garfield | CO | 81642 | 045/1357 | SW SE Section 23, T6S, R97W | 39.5035 | -108.1842 | 2017-10-01 | 2018-09-30 | 26 | 3 | Crawford Trail Compressor Station | 2018-04-19 | 8:54 | 11:54 | Lewie Murray | 55 F | Mostly cloudy | 15 mph | FLIR GF320 | None | Flange/Connector | 1 | None | 0 | None | 0 | None | 0 | 2018-04-19 | None | 0 | NA | FLIR GF320 | Infrared training center certified thermographer; Has 2 years 8 months experience. | No |  | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | [7 empty] | 0
26 | 1 | Bargath LLC | Crawford Trail Compressor Station | None | office address 2717 Country Road 215, Suite 210 |  | Parachute | Garfield | CO | 81645 | 045/1360 | SW SE Section 23, T6S, R97W | 39.5035 | -108.1842 | 2017-10-01 | 2018-09-30 | 26 | 4 | Crawford Trail Compressor Station | 2018-07-19 | 13:26 | 14:35 | Lewie Murray | 84 F | Mostly clear | 8 mph | FLIR GFx320 | None | Other | 1 | None | 0 | None | 0 | None | 0 | 2018-08-05 | None | 0 | NA | Alternate Method 21 | Infrared training center certified thermographer; Has 2 years 11 months experience. | No |  | 0 | 0 | 1 | 0 | 0 | 0 | 2 | 3 | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1
27 | 1 | WTG Gas Processing, LP | Brooking Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79726 | RN101974587 | Driving Directions: From I-20, Big Spring, TX, take exit 177 towards US-87, go north onto US-87N for 18 miles. Site is on the right. | 32.4773 | -101.6466 | 2017-07-12 | 2018-07-11 | 27 | 1 | Brooking Compressor Station | 2017-11-06 | 8:54 | 9:52 | Dakota | 52°F | Sunny | 4 mph | OPGAL EyeCGas S/N: TCG15080263 | None | Other | 1 | N/A | N/A | N/A | N/A | N/A | N/A | 43070 | N/A | N/A | N/A | Snoop | Tech 1: Operate & calibrate portable FID, basic IR theory and knowledge of IR camera operation. Supervised operation of daily/periodic OGI & Method 21 inspection programs. Increased functionality and independent implementation of PC based management software and mobile devices for both IR and Method 21 programs, provide daily leak logs to customer, upload and download of IR camera files. Ability to understand regulations that apply to individual customers. Interface with customers as it relates to daily operations. | N/A | N/A | 0 | 1 | 1 | 0 | 0 | 0 | 6 | 8 | [7 empty] | 0
27 | 1 | WTG Gas Processing, LP | Brooking Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79727 | RN101974588 | Driving Directions: From I-20, Big Spring, TX, take exit 177 towards US-87, go north onto US-87N for 18 miles. Site is on the right. | 32.4773 | -101.6466 | 2017-07-12 | 2018-07-11 | 27 | 2 | Brooking Compressor Station | 2018-01-15 | 9:05 | 9:52 | Dakota | 34°F | Sunny | 2 mph | OPGAL EyeCGas S/N: TCG14050125 | None | Flange/Connector | 1 | N/A | N/A | N/A | N/A | N/A | N/A | 43132 | N/A | N/A | N/A | Snoop | Tech 1: Operate & calibrate portable FID, basic IR theory and knowledge of IR camera operation. Supervised operation of daily/periodic OGI & Method 21 inspection programs. Increased functionality and independent implementation of PC based management software and mobile devices for both IR and Method 21 programs, provide daily leak logs to customer, upload and download of IR camera files. Ability to understand regulations that apply to individual customers. Interface with customers as it relates to daily operations. | N/A | N/A | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | [7 empty] | 0
27 | 1 | WTG Gas Processing, LP | Brooking Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79728 | RN101974589 | Driving Directions: From I-20, Big Spring, TX, take exit 177 towards US-87, go north onto US-87N for 18 miles. Site is on the right. | 32.4773 | -101.6466 | 2017-07-12 | 2018-07-11 | 27 | 3 | Brooking Compressor Station | 2018-04-09 | 9:10 | 9:35 | Dakota | 46°F | Cloudy | 11 mph | OPGAL EyeCGas S/N: TCG14050125 | None | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Tech 1: Operate & calibrate portable FID, basic IR theory and knowledge of IR camera operation. Supervised operation of daily/periodic OGI & Method 21 inspection programs. Increased functionality and independent implementation of PC based management software and mobile devices for both IR and Method 21 programs, provide daily leak logs to customer, upload and download of IR camera files. Ability to understand regulations that apply to individual customers. Interface with customers as it relates to daily operations. | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
28 | 1 | WTG Gas Processing, L.P. | South Glass Compressor Station | NA | NA | NA | Midland | Martin | TX | 79701 | RN105766612 | FR MIDLAND TAKE TX 349 N 9 MI GO R ON PRIVATE LEASE RD GO 8 MI SE | 32.1344 | -102.0284 | 2017-05-25 | 2018-05-24 | 28 | 1 | South Glass Compressor Station | 2017-08-24 | 15:57 | 16:30 | Roy Massengale | 90 | Sunny | 6 | OpGal S/N#: 03005 | None | Other | 1 | NA | 0 | NA | NA | NA | NA | 2017-09-19 | NA | NA | NA | Snoop | Supervisor: Independently determine cross regulatory applicability and understand customer permits to trouble shoot and recognize regulatory and operations issues proactively. Well versed in field equipment operation, ability to query, filter, and "data mine" OGI & Method 21 databases as an audit function of programs. Proven communication and people skills to effectively supervise technicians and interface customers on daily operation and program implementation. Manage large sites and/or multiple sites. | No | NA | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | [7 empty] | 0
28 | 1 | WTG Gas Processing, L.P. | South Glass Compressor Station | NA | NA | NA | Midland | Martin | TX | 79702 | RN105766613 | FR MIDLAND TAKE TX 349 N 9 MI GO R ON PRIVATE LEASE RD GO 8 MI SE | 32.1344 | -102.0284 | 2017-05-25 | 2018-05-24 | 28 | 2 | South Glass Compressor Station | 2018-01-16 | 11:34 | 12:04 | Dakota Redwine | 22 | Cloudy | 4 | OpGal S/N#: 50125 | None | Flange/Connector | 1 | NA | 0 | NA | NA | NA | NA | 2018-02-05 | NA | NA | NA | Snoop | Supervisor: Independently determine cross regulatory applicability and understand customer permits to trouble shoot and recognize regulatory and operations issues proactively. Well versed in field equipment operation, ability to query, filter, and "data mine" OGI & Method 21 databases as an audit function of programs. Proven communication and people skills to effectively supervise technicians and interface customers on daily operation and program implementation. Manage large sites and/or multiple sites. | No | NA | 0 | 1 | 2 | 0 | 0 | 0 | 4 | 7 | [7 empty] | 0
28 | 1 | WTG Gas Processing, L.P. | South Glass Compressor Station | NA | NA | NA | Midland | Martin | TX | 79703 | RN105766614 | FR MIDLAND TAKE TX 349 N 9 MI GO R ON PRIVATE LEASE RD GO 8 MI SE | 32.1344 | -102.0284 | 2017-05-25 | 2018-05-24 | 28 | 3 | South Glass Compressor Station | 2018-04-10 | 11:44 | 12:01 | Dakota Redwine | 62 | Sunny | 5 | OpGal S/N#: TCG14050125 | None | NA | 0 | NA | 0 | NA | NA | NA | NA | NA | NA | NA | NA | NA | Supervisor: Independently determine cross regulatory applicability and understand customer permits to trouble shoot and recognize regulatory and operations issues proactively. Well versed in field equipment operation, ability to query, filter, and "data mine" OGI & Method 21 databases as an audit function of programs. Proven communication and people skills to effectively supervise technicians and interface customers on daily operation and program implementation. Manage large sites and/or multiple sites. | No | NA | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
29 | 1 | WTG Gas Processing, LP | Tall City Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79720 | RN107135402 | Driving Directions: From I-20, Big Spring TX take exit 177 toward US-87/San Angelo/Lamesa, turn right onto US-87N/Lamesa Hwy (15.5 miles), turn right onto Brown Rd/Wcr-50 (1.0 mile), continue on CR-50 (1.1 miles), turn right on lease road (0.6 mile), site is on the left. | 32.4492 | -101.5831 | 2016-09-07 | 2017-09-06 | 29 | 1 | Tall City Compressor Station | 2017-08-21 | 18:39 | 19:25 | Roy | 85°F | Partly Cloudy | 3 mph | OPGAL EyeCGas, S/N: 03005 | None | Pressure Relief Valve | 1 | N/A | N/A | N/A | N/A | N/A | N/A | 2017-08-23 | N/A | N/A | N/A | Snoop | Supervisor: Independently determine cross regulatory applicability and understand customer permits to trouble shoot and recognize regulatory and operations issues proactively. Well versed in field equipment operation, ability to query, filter, and "data mine" OGI & Method 21 databases as an audit function of programs. Proven communication and people skills to effectively supervise technicians and interface customers on daily operation and program implementation. Manage large sites and/or multiple sites. | N/A | N/A | 0 | 1 | 2 | 0 | 0 | 0 | 0 | 3 | [7 empty] | 0
30 | 1 | WTG Gas Processing, LP | North Big Spring Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79720 | RN108696311 | Driving Directions: From I-20 and TX-350 in Big Spring TX take TX-350 N for 2.2 miles. Turn left onto FM 700, go 480 feet. Turn right onto FM 669 (Gail Hwy), go 2 miles. Turn right onto CR 28 (Center Point Road). Go 0.9 miles, site is on the right. | 32.3241 | -101.4567 | 2016-09-29 | 2017-09-28 | 30 | 1 | North Big Spring Compressor Station | 2017-08-24 | 8:49 | 9:16 | Dakota | 71°F | Sunny | 2 mph | OPGAL EyeCGas, S/N: TCG15080263 | None | N/A (No fugitive emissions were detected) | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | N/A | Tech 1: Operate & calibrate portable FID, basic IR theory and knowledge of IR camera operation. Supervised operation of daily/periodic OGI & Method 21 inspection programs. Increased functionality and independent implementation of PC based management software and mobile devices for both IR and Method 21 programs, provide daily leak logs to customer, upload and download of IR camera files. Ability to understand regulations that apply to individual customers. Interface with customers as it relates to daily operations. | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
31 | 1 | WTG Gas Processing, LP | Mustang Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79720 | RN109575415 | Driving Directions: From I-20, west of Big Spring, TX, take exit 176, TX-176/Andrews Highway and go west on TX-176 for 2.6 miles. Turn right at white cattle guard and go 1.1 miles. Site is on the right. | 32.2813 | -101.5525 | 2017-06-09 | 2018-06-08 | 31 | 1 | Mustang Compressor Station | 2017-08-24 | 11:58 | 12:00 | Dakota | 79°F | Sunny | 2 mph | OPGAL EyeCGas S/N: TCG15080263 | None | Other | 1 | N/A | N/A | N/A | N/A | N/A | N/A | 2017-09-20 | N/A | N/A | N/A | Snoop | Tech 1: Operate & calibrate portable FID, basic IR theory and knowledge of IR camera operation. Supervised operation of daily/periodic OGI & Method 21 inspection programs. Increased functionality and independent implementation of PC based management software and mobile devices for both IR and Method 21 programs, provide daily leak logs to customer, upload and download of IR camera files. Ability to understand regulations that apply to individual customers. Interface with customers as it relates to daily operations. | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 1 | [7 empty] | 0
31 | 1 | WTG Gas Processing, LP | Mustang Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79721 | RN109575416 | Driving Directions: From I-20, west of Big Spring, TX, take exit 176, TX-176/Andrews Highway and go west on TX-176 for 2.6 miles. Turn right at white cattle guard and go 1.1 miles. Site is on the right. | 32.2813 | -101.5525 | 2017-06-09 | 2018-06-08 | 31 | 2 | Mustang Compressor Station | 2017-11-03 | 14:00 | 14:55 | Dakota | 72°F | Sunny | 3 mph | OPGAL EyeCGas S/N: TCG15080263 | None | Valve | 1 | N/A | N/A | N/A | N/A | N/A | N/A | 2017-11-03 | N/A | N/A | N/A | N/A | Tech 1: Operate & calibrate portable FID, basic IR theory and knowledge of IR camera operation. Supervised operation of daily/periodic OGI & Method 21 inspection programs. Increased functionality and independent implementation of PC based management software and mobile devices for both IR and Method 21 programs, provide daily leak logs to customer, upload and download of IR camera files. Ability to understand regulations that apply to individual customers. Interface with customers as it relates to daily operations. | N/A | N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | [7 empty] | 0
31 | 1 | WTG Gas Processing, LP | Mustang Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79722 | RN109575417 | Driving Directions: From I-20, west of Big Spring, TX, take exit 176, TX-176/Andrews Highway and go west on TX-176 for 2.6 miles. Turn right at white cattle guard and go 1.1 miles. Site is on the right. | 32.2813 | -101.5525 | 2017-06-09 | 2018-06-08 | 31 | 3 | Mustang Compressor Station | 2018-01-12 | 12:57 | 13:20 | Dakota | 51°F | Sunny | 11 mph | OPGAL EyeCGas S/N: TCG14050125 | None | Flange/Connector | 1 | N/A | N/A | N/A | N/A | N/A | N/A | 2018-02-08 | N/A | N/A | N/A | Snoop | Tech 1: Operate & calibrate portable FID, basic IR theory and knowledge of IR camera operation. Supervised operation of daily/periodic OGI & Method 21 inspection programs. Increased functionality and independent implementation of PC based management software and mobile devices for both IR and Method 21 programs, provide daily leak logs to customer, upload and download of IR camera files. Ability to understand regulations that apply to individual customers. Interface with customers as it relates to daily operations. | N/A | N/A | 0 | 0 | 1 | 0 | 0 | 0 | 0 | 1 | [7 empty] | 0
31 | 1 | WTG Gas Processing, LP | Mustang Compressor Station | N/A | N/A | N/A | Big Spring | Howard | TX | 79725 | RN109575420 | Driving Directions: From I-20, west of Big Spring, TX, take exit 176, TX-176/Andrews Highway and go west on TX-176 for 2.6 miles. Turn right at white cattle guard and go 1.1 miles. Site is on the right. | 32.2813 | -101.5525 | 2017-06-09 | 2018-06-08 | 31 | 4 | Mustang Compressor Station | 2018-04-05 | 12:45 | 13:21 | Dakota | 80°F | Sunny | 3 mph |  | None | Valve | 1 | N/A | N/A | N/A | N/A | N/A | N/A | 2018-04-25 | N/A | N/A | N/A | Snoop | Tech 1: Operate & calibrate portable FID, basic IR theory and knowledge of IR camera operation. Supervised operation of daily/periodic OGI & Method 21 inspection programs. Increased functionality and independent implementation of PC based management software and mobile devices for both IR and Method 21 programs, provide daily leak logs to customer, upload and download of IR camera files. Ability to understand regulations that apply to individual customers. Interface with customers as it relates to daily operations. | N/A | N/A | 0 | 0 | 2 | 0 | 0 | 0 | 0 | 2 | [7 empty] | 0
32 | 1 | WTG South Permian Midstream LLC | University 41-10 Compressor Station | NA | NA | NA | Barnhart | Crockett | TX | 76932 | RN108169675 | From Barnhart, TX, travel S on TX-163 for 7.3 miles. Turn East onto EP Corridor lease rd for 1.3 miles. Site will be on left side of road. | 31.0249 | -101.1451 | 2017-04-11 | 2018-04-10 | 32 | 1 | University 41-10 Compressor Station | 2017-08-21 | 15:28 | 16:39 | Roy Massengale | 90 | Sunny | 7 | OpGal S/N#: 03005 | None | Other | 2 | NA | 0 | NA | NA | NA | NA | 2017-08-29 | NA | NA | NA | Snoop | Supervisor: Independently determine cross regulatory applicability and understand customer permits to trouble shoot and recognize regulatory and operations issues proactively. Well versed in field equipment operation, ability to query, filter, and "data mine" OGI & Method 21 databases as an audit function of programs. Proven communication and people skills to effectively supervise technicians and interface customers on daily operation and program implementation. Manage large sites and/or multiple sites. | No | NA | 0 | 0 | 1 | 0 | 0 | 0 | 4 | 5 | [7 empty] | 0
32 | 1 | WTG South Permian Midstream LLC | University 41-10 Compressor Station | NA | NA | NA | Barnhart | Crockett | TX | 76933 | RN108169676 | From Barnhart, TX, travel S on TX-163 for 7.3 miles. Turn East onto EP Corridor lease rd for 1.3 miles. Site will be on left side of road. | 31.0249 | -101.1451 | 2017-04-11 | 2018-04-10 | 32 | 2 | University 41-10 Compressor Station | 2017-11-07 | 9:49 | 10:24 | Rick Garcia | 63 | Cloudy | 1 | OpGal S/N#: 50125 | None | Other | 2 | NA | 0 | NA | NA | NA | NA | 2017-11-07 | NA | NA | NA | OpGal S/N#: 50125 | Technician: Shows skills and ability to independently orchestrate cross regulatory applicability, read and understand customer permits. Mastery of field equipment operation. Ability to query, filter and “data mine” OGI & Method 21 databases as an audit function of programs. Interface with customers as it relates to daily operation as well as program implementation. | No | NA | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 2 | [7 empty] | 0
32 | 1 | WTG South Permian Midstream LLC | University 41-10 Compressor Station | NA | NA | NA | Barnhart | Crockett | TX | 76937 | RN108169680 | From Barnhart, TX, travel S on TX-163 for 7.3 miles. Turn East onto EP Corridor lease rd for 1.3 miles. Site will be on left side of road. | 31.0249 | -101.1451 | 42836 | 43200 | 32 | 3 | University 41-10 Compressor Station | 2017-11-07 | 9:49 | 10:24 | Rick Garcia | 63 | Cloudy | 1 | OpGal S/N#: 50125 | None | Pressure Relief Valve | 1 | NA | 0 | NA | NA | NA | NA | 43046 | NA | NA | NA | Snoop | Technician: Shows skills and ability to independently orchestrate cross regulatory applicability, read and understand customer permits. Mastery of field equipment operation. Ability to query, filter and “data mine” OGI & Method 21 databases as an audit function of programs. Interface with customers as it relates to daily operation as well as program implementation. | No | NA | 0 | 2 | 3 | 0 | 0 | 0 | 0 | 5 | [7 empty] | 0
32 | 1 | WTG South Permian Midstream LLC | University 41-10 Compressor Station | NA | NA | NA | Barnhart | Crockett | TX | 76939 | RN108169682 | From Barnhart, TX, travel S on TX-163 for 7.3 miles. Turn East onto EP Corridor lease rd for 1.3 miles. Site will be on left side of road. | 31.0249 | -101.1451 | 42836 | 43200 | 32 | 4 | University 41-10 Compressor Station | 2018-01-18 | 9:18 | 10:15 | Dakota Redwine | 30 | Sunny | 4 | OpGal S/N#: 50125 | None | Flange/Connector | 3 | NA | 0 | NA | NA | NA | NA | 43118 | NA | NA | NA | OpGal S/N#: 50125 | Technician: Shows skills and ability to independently orchestrate cross regulatory applicability, read and understand customer permits. Mastery of field equipment operation. Ability to query, filter and “data mine” OGI & Method 21 databases as an audit function of programs. Interface with customers as it relates to daily operation as well as program implementation. | No | NA | 0 | 0 | 3 | 0 | 0 | 0 | 3 | 6 | [7 empty] | 0

## MJB&A File Num
MJB&A | COMPANY
FILE
NUMBER